%N early

%D Flag data which has early/normal problems.

%P rjs

%: calibration, uv analysis

%B

EARLY is a Miriad task which flags visibility data that it suspects

contains early/normal problems. The input must be a multi-channel

dataset (NOT channel 0). Early works by comparing the scatter of

data within a visibility record with that expected because of thermal

noise. If the scatter exceeds some number of sigmas, then the data

are assumed to be affected by the early/normal problem, and the

entire record is flagged.

Several assumptions about the data are make:

Firsly there is significant signal in the visibility

record so that the phase slope across the band causes a substantial

increase in the scatter. This will not be true if the signal is

weak, and the visibility records are noise dominated. If the signal

is noise dominated, no early/normal problems can be detected, and

the data will not be flagged.

Secondly the data have been bandpass calibrated. EARLY always applies

a bandpass correction to the data if there is one present.

Thirdly that the noise level is fairly constant across the band,

Fourthly that any end channels that might be bad have already been

flagged.

Fifthly there is no substantial variation of the signal across

the band. This will be true for continuum, but not spectral

line work.

%A vis

The input visibility data-set to flag. Several files can be

given. Wildcards are supported. No default.

%A select

Normal uv selection. This selects which data to check for early/normal

problems.

%A sigma

Number of sigmas. Default is 10.

%A log

Output log file for messages. The default is the terminal.

%A options

Extra processing options. Several can be given, separated by commas.

Possible values are:

noapply    Do not do any flagging -- just check the data, and

produce the appropriate messages.

verbose    Give details about what is (or would be) flagged.