%N gmakes

%D Convert a visibility dataset into a gain visibility dataset

%P pjt

%: calibration

%B

GMAKES creates a gain calibration dataset (which in actuality

is a regular visibility dataset) from a single visibility dataset

assuming a model for the observed source (point source or planet)

** In antenna based mode the visibilities are written as if

the data is an autocorrelation dataset

NOTE: this is the new GMAKES, with new keyword focus=

%A vis

Name of input visibility dataset. Only one dataset can be given;

to use multiple datasets, use UVCAT with the proper LINE= to speed

up I/O in this program.

No default.

%A select

Standard uv data selection criteria. Generally this should not include

a "dra" and "ddec" selection, as GMAKES automatically matches data

with the appropriate pointing center.

%A model

Name of the input models. Several models can be given, which can

cover different channel ranges, different pointing centers, and

different polarizations of the input visibility data. Generally

the model should be derived (by mapping and deconvolution) from the

input visibility file, so that the channels in the model correspond

to channels in the visibility file. Though the maps can be made using

any linetype, generally "channel" linetype will give best results (??).

The units of the model MUST be Jy/pixel, rather than Jy/beam. If

no models are given, a point source model is assumed.

(see also the ``apriori'' option below)

%A clip

Clip level. Anything, in the input model, below the clip level is set

to zero. Default is 0.

%A interval

The length of time, in minutes, of a gain solution. Default is 5,

but use a larger value in cases of poor signal to noise, or

if the atmosphere and instrument is fairly stable.

**bug** For multisource datasets and long intervals pathological

situations could occur where the computed timestamps are wrong.

%A options

This gives several processing options. Possible values are:

amplitude  Perform amplitude and phase self-cal.

phase      Perform phase only self-cal.

baseline   Baseline based gains!!  ** NOT IMPLEMENTED YET **

polarized  The source is polarised. By default the source is

assumed to be unpolarised. For a polarized source,

SELFCAL cannot perform polarization conversion. That

is, if the model is of a particular polarization, then

the visibility file should contain that sort of

polarization. For example, if the model is Stokes-Q,

then the visibility file should contain Stokes-Q.

mfs        This is used if there is a single plane in the input

model, which is assumed to represent the image at all

frequencies. This should also be used if the model has

been derived from MFCLEAN.

relax      Relax the convergence criteria. This is useful when

GMAKES'ing with a very poor model.

apriori    This is used if there is no input model, and the

source in the visibility data is either a planet,

or a standard calibrator. This causes the model data

to be scaled by the known flux of the source. For a

planet, this flux will be a function of baseline. If

the source is a point source, the ``apriori'' option

is only useful if the ``amplitude'' and ``noscale''

option are being used. For a planet, this option

should also be used for a phase GMAKES, to get the

correct weighting of the different baselines in the

solution.

noscale    Do not scale the model. Normally the model is scaled

so that the flux in the model visibilities and the

observed visibilities are the same. Generally this

option should be used with at least the apriori option.

It must be used if GMAKES is being used to determine

Jy/K, and should also be used if the model is believed

to have the correct scale.

Note that "amplitude", "phase" and "baseline" are mutually exclusive.

The default is options=apriori,amp,noscale. Note that this is

different from the defaults for SELFCAL.

%A minants

Data at a given solution interval is deleted  if there are fewer than

MinAnts antennae operative during the solution interval. The default

is 3 for options=phase and 4 for options=amplitude.

%A refant

This sets the reference antenna, which is given a phase angle of zero.

The default, for a given solution interval, is the antennae with the

greatest weight.

%A offset

This gives the offset in arcseconds of a point source model (the

offset is positive to the north and to the east). This parameter is

used if the MODEL parameter is blank. The default is 0,0. The

amplitude of the point source is chosen so that flux in the model

is the same as the visibility flux.

%A line

The visibility linetype to use, in the standard form, viz:

TYPE,NCHAN,START,WIDTH,STEP

Generally if there is an input model, this parameter defaults to the

linetype parameters used to construct the map. If you wish to override

this, or if the info is not in the header, or if you are using

a point source model, this parameter can be useful.

Default: wide,2,1,1,1; i.e. the first two (digital) wide band channels.

%A fluxes

List of sources and associated fluxes in Jy to be used for

calibration. The format is name of the source, followed by

its flux, and optionally more sources, e.g.

fluxes=3c273,10.3,3c84,12.3,bllac,2.2

Currently no frequency dependency can be specified.

%A fluxtab

Name of the calibrators flux table file. The user

can also supply fluxes by hand (see keyword FLUXES=) in

which case the flux table derived values are ignored.

* ? Note that reported frequencies of 0.0 means the flux was

? determined from interpolation accross different frequencies.

Default: $MIRCAT/cals.fluxes

%A error

The percentage error in amplitude, and the phase error above which

antennae are reported when the gain solution deviates from the

observed values.

Default: 20,20 (20% in amplitude, 20 degrees phase error).

Note: not implemented yet.

%A focus

Maximum (sum of) focus change allowed (in volts) to force a break point

and hence start of a new averaging interval. Note: a new uv variable,

sfocus, is copied to the output gain visibility dataset.

NOTE: CARMA has no focus values (yet)

Default: 0.1 (volts)

%A out

Output gain visibility dataset. No default.